# Customer Service Inspection Certification

Name of PWS:  Verona Water Supply Corporation

PWS I.D. #      0430048

Location of Service: _____________________________________________

I,__________________________________________, upon inspection of the private plumbing facilities connected to the

aforementioned public water supply do hereby certify that, to the best of my knowledge:

(1) No direct connection between the public water supply and a                     Compliance                          Non-Compliance

potential source of contamination exists. Potential sources of

contamination are isolated from the public water system by an air

gap or an appropriate backflow prevention assembly in

accordance with state plumbing regulations. Additionally, all

pressure relief valves and thermal expansion devices are in

compliance with state plumbing codes.

(2) No cross-connection between the public drinking water supply

and a private water system exists. Where an actual air gap is not

maintained between the public water supply and a private water

supply, an approved reduced pressure zone backflow prevention

assembly is properly installed and a service agreement exists for

annual inspection and testing by a certified backflow prevention

device tester.

(3) No connection exists which would allow the return of water used

for condensing, cooling or industrial processes back to the public

water supply.

(4) No pipe or pipe fitting which contains more than 8.0% lead exists

in private plumbing facilities installed on or after July 1, 1988.

(5) No solder or flux, which contains more than 0.2% lead, exists in

private plumbing facilities installed on or after July 1, 1988.

(6) No plumbing fixture is installed which is not in compliance with

a state approved plumbing code.

Water service shall not be provided or restored to the private plumbing facilities until the above

conditions are determined to be in compliance.

I further certify that the following materials were used in the installation of the plumbing facilities:

Service Lines:      Lead                     Copper                          PVC                                                  Other

Solder:     Lead                     Lead Free                      Solvent Weld                                    Other

I recognize that this document shall become a permanent record of the aforementioned Public Water

System and that I am legally responsible for the validity of the information I have provided.

_____________________________________                                           _______________________________________

Signature of Inspector                                                                                       Registration Number

_____________________________________                                           _______________________________________

Title                                                                                                                   Type of Registration

_____________________________________                                           _______________________________________

Date                                                                                                                   License Expiration Date